## Slide 1: VALID2021 test Drive
9/2/2021

## Slide 2: Scope of this session Intention is Not to be FOR/AGAINST LEGISLATION
We abstain from advocacy
i.e., neutral approach
Idea is to see where and how pending legislation may have impact
Prior examination (Mayo) resulted in some confusion about risk classification
  Now… take a few specific and relevant examples from pathology
  What kind of submission would be most adequate
  Adequate for Technology Certification ?

## Slide 3: a whole slide imaging based artificial intelligence application to predict combined Gleason grade from H&E stained routine FFPE sections
Intended use: what
Indication of use: who and why
Instructions for use: how
PD-L1 immunohistochemical staining for a solid tumor (CoDx) that is cross-referencing another approved test
a Next-generation sequencing assay (multiple established biomarkers)

## Slide 4: Current state: Two-tiered RISK Paradigm
Idea is to have risk in 2 tiers
Low-risk (no harm; immediately reversible)
High-risk (irreversible harm)
  Accounts for previously used etc…
High-risk + mitigation measures (“third tier”)

## Slide 5: Discussion 1/3: Gleason AI Scoring
No human call = high-risk (automated calling = “black-box”)
Decision-support tool = depending on the intended use (might be low-risk)
Diagnostic aid = depending on the intended use (might be low-risk)

## Slide 6
Regulatory precedent: AI used for highlighting are vs. AI makes the call.
Discussion point:
  unbiased review + highlighting vs. highlighted initial review (“mitigating measure”)
  E.g., training program, unbiased review, catching misdiagnosis (?intended use)
Retrospective review of all cases (done today) = QC issue.
Mitigating measures have to be aligned with intended use
  Risk assessment only required for high-risk test the approach might be “starting at high-risk” – can we provide data/arguments for low risk)
Discussion 2/3: Gleason AI Scoring

## Slide 7: Discussion 3/3: Gleason AI Scoring
Technology Certification: applicable?
  Assume AI is high-risk could be “application” for Tech Cert… = Tech cert check.
  Additional high-risk new FDA review…
  Low-risk not relevant
  Additional high-risk with mitigation might fall under Tech Cert (without FDA review; for 4-years; until new exemplar)

## Slide 8: Submission requirements: Gleason AI Scoring
Low risk = no requirement
High risk = what is part of the submission
Key elements
QMS: requirements? Validation? GMP?
Performance characteristics: Sensitivity Specificity PPV NPV Accuracy Precision [Question binary?]
Pre-submission requirements (study design) - Informational session… vs. revision/re-do on the fly
Bibliography (robust literature review; “all” => might add work/effort)
Raw data review (pro/con)
Formal risk assessment (see prior slide)
Narrative description; test/IVCT alternatives; (additional scientific medical resources)

## Slide 9: Second Session

## Slide 10: a whole slide imaging based artificial intelligence application to predict combined Gleason grade from H&E stained routine FFPE sections
Intended use: what
Indication of use: who and why
Instructions for use: how
PD-L1 immunohistochemical staining for a solid tumor (CoDx) that is cross-referencing another approved test
a Next-generation sequencing assay (multiple established biomarkers)

## Slide 11: “Cross Referencing” => e.g. +PD-L1 = Drug/other Drug
Lab
Companion diagnostics => Drug-test couple authorized => claim “our” PD-L1 “cross referencing” => CoDx already in highest risk classification (=clinical trial)
Intended use (“what”): Our PD-L1 test is able to identify the authorized medical product (i.e., the drug)
RISK: AI vs. Manual
  AI makes decision (highest Class III);
  AI decision-support (AID; “third tier”);
  manual test definition (exempt from VALID) – “no software”
Manual process (exemption for manual tests – without use of automation)
  Might be restricted to IVCT conducted in a single-laboratory (i.e., not distributed)
  Manual process can still be high-risk (e.g., PD-L1; HER2; what about ER/PR?)
What if stained on automated stainer?
Lab
IVD
Procedure
IVD

## Slide 12: “VALID assumptions”
LDT vs. IVD = under VALID = IVCT
Laboratory: PD-L1 (manual; no software) = manual not distributed; used in one laboratory => no submission
Manufacturer: PD-L1… (PD-L1 “test” is able to identify the authorized medical product (i.e., the drug) = distributed and use at multiple sites) => a) CoDX b) high-risk => submission
High-risk + mitigating measures (=Tech Cert Eligible); however, here CoDx claims (=high-risk)
Assumption (PD-L1 new antibody is authorized => sold => purchased and implemented in a laboratory)
No submission requirement (if un-modified)
Term in Valid is “correction”
Authorized for FFPE (without decalcification) Example what if the Laboratory wants to use it on decalcified FFPE samples
Modification = has the probability to influence AV/CV
Every change in the procedure to perform the IVCT: ”modification” => AV/CV => “YES”
Laboratory becomes Developer => Claim remains unmodified but the “technology” (pre-analytical)
Developer may need to register
Analytical validity may not be sufficient for clinical validity…
Lab
Lab
IVD
Lab
Lab
IVD
Distrib.
IVCT

## Slide 13: Laboratories have Multiple Choices for Implementation
Implement FDA authorized IVCT “as is” (specifications/package insert)
Serving the needs of the specific population with an imperfect test vs. modifying test to suit the specific patient population = Developer
Exemptions:
  “stabilizing” (not modification with respect to requirement for FDA submission);
  “automations” (may not be considered modifications)
OR Modify claim
Evidence for the problem ? (20 cases FDA… other? )

## Slide 14: Modifications in the context of AI DSt/Devices
AI tool – implemented
Modification
Manufacturer
Laboratory 2 (bought and implemented)
Laboratory
Developer
Laboratory (bought and implemented)
Laboratory 1 (bought and implemented)
Off-label
use
How to assess risk
And submission
requirement